##### Property Protection Checklist

Protecting Your Building and Its Contents

##### Property Protection Checklist

The following checklist is designed to help you look for items that have an important bearing on the safety of your building and to protect your building and its contents from damage.  It is not intended as an all-inclusive list of protection against earthquakes, wind damage due to hurricanes, severe storms, tornadoes and hail; flooding, wildfires or freezing weather, but it contains key elements for disaster resistance.

Though building owners have more control over their property than renters, the two types of business tenants share many of the same concerns. After completing the checklist, renters may want to discuss items with their landlord or building manager.

The checklist can serve multiple purposes. It can serve as a guide when making decisions about upgrading building conditions and performing maintenance, as well as giving you the steps for improving building security. Replacing windows and doors and choosing the best materials for a new roof and other project can go a long way toward upgrading a building’s integrity and safety. These checklist items also are useful for business people considering buying or leasing new space. Going down the checklist as you look over a piece of property may help you decide where to locate.

Regular checks and maintenance of the building exterior and major mechanical components, such as heating and cooling equipment, are important no matter where a building is located. This keeps small problems from becoming big ones, while maintaining building integrity.

For more detailed information about property protection, 
go to  http://www.liggettenterprise.com/resources.htm

Please read the following questions and record your answers using a “Y” for “Yes”, “N” for “No” or “U” for “Unsure.”

Be sure to update this checklist as you take recommended actions.

# In earthquake areas

Earthquake Risk Assessment

The following building characteristics describe the types of building configuration or feature that can make your building less vulnerable to earthquake damage.  This does not mean, however, that there is a low risk of earthquake damage.

Additional risk may be imposed on a building due to its irregular features, presence of brick veneer, and vulnerable foundation types. Characteristics that could make your building more vulnerable to earthquake damage may not be as important if your building was professionally designed.  In that case, the building should have been designed in a way that accounts for the features listed below.

Does the building have a box-like shape? This style of building is generally more stable than an irregularly-shaped building or a building with multiple stories that vary significantly in height. One example of a building style that poses a greater risk is a multi-story office building with a grand entrance on the first floor with raised ceilings.

Is the roof free of openings, such as for access doors or skylights, or are the openings minimized to dimensions of less than 12 feet or less than 50 percent of the smallest roof dimension? Large openings can weaken a roof.

Have light roofing materials been used, such as asphalt shingles and metal panels or tiles? The use of relatively light roofing materials will help keep the building’s center of gravity low, thereby improving its performance and reducing the likelihood of damage during an earthquake.

Is the building free of large garage doors, first-story parking lots or other large ground-floor openings in multiple-story buildings? The presence of these features increases earthquake damage risk.

Does the building’s exterior limit or exclude the use of brick or stone veneer? Brick and stone veneers easily crack and are prone to damage in an earthquake, as well as adding extra loads into the exterior walls.

The foundation of a structure plays a crucial role in the structure's performance during an earthquake. There are several types of foundation systems. A slab-on-grade is a foundation system built directly on the ground, compared to crawlspace or pier foundations where the floor is elevated above the grade. The slab-on-grade system and a crawlspace that uses a continuous masonry or concrete wall are the most resistant to earthquake damage.

Which system best describes your building foundation system:

Slab-on-grade with integral footing (the footing and slab are a single unit)

Crawlspace or basement foundation wall system consisting of a continuous concrete or masonry wall system

Crawlspace or basement foundation wall systems consisting of a wood stud cripple wall or an unreinforced masonry wall.

Pier or pile foundation system consisting of wood, concrete, or steel

Note:  A professional engineer should always be consulted when any structural improvements are being considered.

Refer to the following checklist for additional actions that should be taken to protect your employees, customers and visitors, as well as your building, contents and inventory regardless of your building’s configuration.

Do the windows, skylights and doors have either tempered glass or safety film applied on the interior side of the glass, to reduce the chances of the glass shattering? Check for etching in the corner of the window that says "tempered" or "laminated." Safety film is an adhesive film applied to the inside of the glass.

Are natural gas lines outfitted with flexible connections and an automatic shut off valve? A flexible gas line is made of a material such as rubber or plastic that you can bend yourself. This reduces the chances of the line rupturing, resulting in a fire. The automatic shut off valve is typically installed near the gas meter.

Have flexible supply lines been installed leading to toilet(s)?

Were flexible couplings used on the sprinkler systems?

Are major appliances, such as boilers, furnaces, and water heaters, braced to the wall and/or floor so the appliances will not overturn or shift in the event of an earthquake?

Are the hangers (usually strips of sheet metal or stiff steel rods) used to support your mechanical and plumbing systems 12 inches or less in length? Longer hangers may allow too much sway during a temblor.

Have computers and other electronic equipment been secured to the floor or desk with braces, Velcro or some other means of attachment to prevent the items from overturning?

Are suspended ceilings braced to the structure to limit the amount of displacement during an earthquake?

Do file cabinets have locks or latches that must be released manually in order to open the drawers? These will keep cabinet drawers from swinging open during an earthquake and spilling contents.

Have cabinets, bookcases and storage racks been secured to the walls and/or floor to keep them from tipping over?

If you are in an earthquake area, consider adding earthquake coverage to your insurance policy.

In windstorm areas (hurricane, high wind, tornado/hail)

Have you inspected the roof condition? A roof in good condition has all metal flashing secured to the structure and is free of rust. Roof coverings are secure and show no signs of weather damage (cracking, rust, punctures, etc.). All vents and other roof penetrations are flashed and sealed, and all roof equipment is bolted down. The roof drainage system is working properly, with no "ponding" of water. There are no leaves or other debris blocking drainage.

On asphalt shingle roofs, do the shingle tabs overlap and adhere to the shingles below? Loose shingle tabs can be fixed by applying a dab of asphalt cement on their underside.

Do you have a low slope roof (“flat roof”), and/or a steep slope roof with any kind of roof covering other than asphalt shingles? If so, have a roofing consultant evaluate your roof’s condition to determine if there is a need for repair or replacement.

Re-roofing in hail-prone areas:

Do you plan on using asphalt shingles or metal roofing? If so, consider an impact resistant product that has been tested to meet the UL2218 Class 4 standard.

Do you plan on using wood or tile as your roof covering? If so, consider an impact resistant product that meets the FM 4473 Class 4 standard.

Re-roofing in hurricane or high wind areas:

Do you plan on using asphalt shingles? If so, consider using a wind-resistant shingle that meets the ASTM D 3161 (110 mph) standard.

Are there roof-to-wall straps, brackets or other connectors that attach each rafter or roof truss (whether wood or light frame steel) to the wall to keep the roof from blowing off the building?

Have carports, canopies, and/or overhangs been secured to the structure with rust-free anchors and tightened bolts/nuts?

Are signs, vent stacks, rooftop mechanical equipment and other vertical projections secured to the structure or the site foundation with rust-free anchors, tightened bolts/nuts, guy wires or other methods? Beware of equipment features that are attached only with sheet metal screws – they are usually not sufficient by themselves.

Do exterior windows and doors have a minimum design pressure rating of 50 pounds per square foot? Look for a label or sticker in the corner of the glazing or inside the frame itself or contact the window/door manufacturer.

Are exterior doors equipped with a deadbolt and supported by at least three hinges? In general, the more hinges your doors have the more wind resistance. A deadbolt latching mechanism adds to wind resistance and security.

Are exterior double doors outfitted with head and foot bolts on the inactive door, or another method of securing the door, such as locking it into a mullion/center post?

Do you have impact-resistant windows and doors? Look for a sticker or label in the corner of the glass or frame itself, indicating it meets one or more of the following standards: ASTM E 1996 (9lb), SSTD 12, Dade County PA201, or FBC TAS201.

Is there an exterior lightning protection system? Check the roof for metal rods or probes. The lightning protection system needs to be securely anchored to the roof. Otherwise it may whip around in a storm and damage the building.

Are there surge protectors on all computer systems, telephone lines, and other electronic systems, to protect against lightning damage that often occurs in windstorms?

In flood areas

Is your business located in a Special Flood Hazard Area – V zone, Coastal A Zone or Non-Coastal A Zone?  If so, what is the Base Flood Elevation (BFE) or Design Flood Elevation (DFE) at your location? Contact your local building or planning department for this information.

BFE:

The base flood elevation (BFE) is the elevation shown on the Flood Insurance Rate Map (FIRM) developed by the Federal Emergency Management Agency. This flood elevation is the elevation that has a 1 percent chance of being equaled or exceeded in any given year (100-year flood).

DFE:

The design flood elevation (DFE) is the locally adopted regulatory flood elevation.  The DFE is always greater than or equal to the BFE.

Does your community participate in the National Flood Insurance Program (NFIP)?  Go to http://www.fema.gov/fema/csb.shtm, click on your state and you will see a list of participating jurisdictions.  If you are in a Special Flood Hazard Area, be sure you have flood insurance. Remember, even if you live outside the Special Flood Hazard Area, it is advisable to have flood insurance.  Between 20 and 25 percent of the NFIP’s claims come from outside high flood risk areas.

Are you in a Special Flood Hazard Area? If so, ensure that electrical, plumbing and heating/ventilation/air conditioning (HVAC) equipment are installed above the flood elevation applicable at your location.  Examples of plumbing equipment include water heaters, pumps (if applicable) and all plumbing system inlets and outlets for the water and sewage systems, including openings for toilets, sinks, showers, tubs, etc.  Electrical equipment refers to the entire electrical system, including the power supply, circuit breaker, all wiring and outlets, and any electrical appliances that are more or less stationary and permanent. HVAC equipment includes the condensing unit, air handler, furnace and all ductwork. Electrical, plumbing and HVAC equipment installed above the base flood elevation, or better yet, the design flood elevation, is most likely to survive a flood.

Are you in a Coastal A Zone or V Zone? If so, make sure that you have an open foundation (piles, piers, etc.) or breakaway wall system designed by a registered Professional Engineer for any portions of the building below the BFE. These features allow floodwaters to flow through.

If you are in an A Zone, either coastal or non-coastal, does the building have a minimum of two openings on multiple walls of each enclosed area? There should be two openings on one wall (minimum) and two openings on an opposite wall (minimum) for each enclosed area.  The openings must be on exterior walls and not open into another enclosed area. The flood vents should be located within 1 foot above grade and with at least 1 square inch of opening for each square foot of enclosed area.

Flood vents are openings in a wall that allow floodwaters to freely enter and exit the foundation.

# In wildfire areas

Wildfire Risk Assessment:

Wildfire is a potential risk everywhere. Wildfire danger occurs where there is a wildland/urban interface – that is, wherever buildings are nestled among trees and other combustible vegetation such as grasses, brush and shrubs.  Whether near large urban areas or remote rural locations, interface areas exist all over the country.  Determine how much you are at risk by reviewing the factors listed below. Then continue with the wildfire checklist for additional actions to take to protect yourself from wildfire.

Evaluate your risk. Answering “Yes” to these questions indicates your risk is high.

Is there is a history of nearby wildfires?

Are you in a climate with a dry season of more than 3 months?

Is there is wildland within 100 feet of your building?

Is there steep forested terrain with grades that average over 20 percent in any direction from the building?

Are there are other fuel sources (wood piles, brush, furniture) less than thirty feet from your building?

Are you in a rural area?

Is the nearest fire hydrant more than 500 feet away?

Is there limited access for fire trucks?

Ideally, the nearest fire hydrant should be less than 300 feet away.  If there are no fire hydrants in the area, firefighters must truck in water or pump it from a pond or other water source.  As a result, the building has a higher fire risk.

Refer to the following checklist for additional actions that should be taken to protect your employees, customers and visitors, as well as your building, contents and inventory.

Is there "survivable" space around the building? This is space that is cleared of brush and other fuel sources and maintained so that a wildfire will not spread to the structure. The survivable space recommendations are: 30 feet in low-risk fire areas, 50 feet in moderate-risk areas and 100 feet in high-risk areas. Survivable space should be increased on any side where there is a downward slope away from the building, and if the exterior of the building is combustible.

Was the structure built using roofing materials with a UL 790 Class A, ASTM E108 Class A, or UBC 15-2 fire rating? (You will find the rating label displayed on the packaging of the roofing material.)  Class A fire-rated roof coverings provide the best protection for a business during a fire.

Are the eaves enclosed with fire resistant materials and screens over soffit vents? Fire resistant materials include aluminum or other metals and plywood 1/2 inch or greater thickness. Combustible materials include vinyl, PVC, and plywood less than 1/2 inch thick.

Are attic or crawlspace exterior vents made of non-combustible materials such as aluminum or other metals or plywood that is at least a half inch thick? The vents should be less than one foot by one foot and covered with non-combustible screening with openings of 1/4” or less.  This prevents sparks from entering your building.

Are the exterior walls covered with a non-combustible siding/veneer? Examples of non-combustible siding include stucco, brick veneer, and concrete block. Examples of combustible siding/veneer include vinyl siding and wood veneer.

Do the windows use double-pane tempered glazing or have the windows been tested in accordance with ASTM E119? Double-pane tempered glazing filters out extreme heat better than single pane or non-tempered window glazing. Check for etching in the corners of your windows that says "tempered" or "laminated."

Will a monitored smoke alarm system automatically alert the local fire department if a fire breaks out?

Is there a fire sprinkler system to automatically start fire suppression?

Are the undersides of above-ground decks and balconies enclosed with fire resistant materials? Examples of fire resistant materials include aluminum, stucco, brick veneer, concrete, and plywood greater than 1/2 inch thick.

Is the building outfitted with address numbers made of non-combustible materials that are at least 4 inches tall? The numbers should be made of reflective material or put on contrasting background to allow visibility from the road in both directions of travel. Address numbers must be easily viewed from the road so firefighters can find your building.

Does the access route have a minimum of 12 feet width and at least 13.5 feet of vertical clearance near the structure? The main approach to your business must be large enough for a fire truck to have easy access in the event of a fire.

# In freezing weather areas

Is there a secondary moisture barrier that extends from the edge of the eaves to at least 24 inches beyond the inside of the exterior wall, if the roof is sloped? Heat that escapes into the attic space warms the underside of a sloped roof, causing snow to melt and refreeze when it reaches the roof eave, outside the area of warmth. Moisture barriers prevent melted snow that backs up underneath the roof covering from entering the building.

Is the attic or any mechanical rooms located directly under the roof free of heat sources? Heat sources directly beneath a roof can cause ice damming and water backups.

Have sealed and insulated recessed light fixtures been installed in the ceiling immediately below the attic space or mechanical room? This keeps heat from melting snow on the roof and causing water backups.

Are attic penetrations properly sealed and insulated to prevent heat intrusion into the attic?

Have the access doors to attic space or mechanical room been properly insulated and sealed using weather-stripping or gaskets to prevent heat intrusion into the attic space or mechanical room?

Is insulation installed over water or sprinkler supply piping located in exterior walls, unheated drop ceilings, or other unheated spaces, to prevent frozen or burst pipes?

If space is unoccupied for more than 24 hours (e.g. holidays, vacation, weekends, etc.), there should be a plan in place to inspect the building once a day for freezing pipes during the winter months.